## Sheet1
Length of the Lecher line : 88 cm
Frequency of the electromagnetic wave : 433.92 MHz
1) Lecher line with short-circuited end
| The light intensity minima position (probe lamp) (cm) |  |  |  | wavelength
| 23 | 57 | 87.5 |  | 0.68 | 0.61
[7 empty] | 16 | 19 | 14.5
The light intensity minima position (induction loop) (cm)
| 7 | 38 | 73 |  | 0.62 | 0.7
2) Lecher line with open ended
The light intensity minima position (probe lamp) (cm)
| 5 | 37 | 73 |  | 0.64 | 0.72
21
The light intensity minima position (induction loop) (cm)
| 20 | 52 | 87.5 |  | 0.64 | 0.71
3) Lecher line terminated with the characteristic wave impedance
There were no light intensity changes.
[5 empty] | short-circuited | open-circuited
|  |  |  | average wavelength (m) | 0.6525 | 0.6775
|  |  |  | frequency (Hz) | 433920000 | 433920000
|  |  |  | speed of wave | 283132800 | 293980800
|  |  |  | %error | -5.6224 | -2.0064